SABANCI UNIVERSITY

Faculty of Eng. & Natural Sci.

ME-308

Industrial Control

SPRING 2020-2021

Instructor(s)

Kemalettin Erbatur ; . erbatur@sabanciuniv.edu ; . http://people.sabanciuniv.edu/~erbatur/ ; . FENS-1090 ; . ; .

Course Content

This is an course that covers industrial control systems. The specific topics include: control systems architectures; transducers and actuators; communications in industrial control systems - industrial LANs; sequential control - programmable logic controllers; direct digital control and supervisory control; structures of SCADA systems; case studies.

Objectives

To provide the students with the foundations of modern industrial control in the machine automation context.

Recommended or required reading

Readings:

Pdf documents related to Siemens S7 300 PLC's

Course Web:

sucourse

Optional Readings:

Title: Automated Manufacturing Systems

Author: S. Brian Morriss

Year: 1994

Publisher: Mc Graw Hill

Title: Automation Systems for Control and Data Acquisition

Author: Lawrence T. Amy

Year: 1992

Publisher: ISA (Instrument Society of America)

Series: Resources for Measurement and Control Series

Title: Practical Process Control

Author: A. M. Seal

Year: 1998

Publisher: Arnold

Course Outline

1. Introduction

PLC (Programmable Logic Controller)

Introduction

Resources

3 hours

2. PLC (Programmable Logic Controller)

Ladder Logic Program (LAD)

5 hours

3. PLC

Statement List Program (STL)

Linear Programming

Partitioned Programming

3 hours

4. PLC

Structured Programming

2 hours

5.Wiring Diagrams

5 hours

6. Graphical User Interfaces

5 hours

7. Midterm

2 hours

8. SCADA Systems

1 hour

9. Robotics

5 hours

10. Industrial Networks

3 hours

11. Sensors

5 hours

12. Actuators

3 hours

Laboratory exercises (6 exercises, remote connection)

Learning Outcomes

List main types of industrial automation systems and industrial actuation and sensor systems

Identify the individual design steps in an industrial automation project.

Design automation systems with industrial control components.

Compare different industrial control strategies.

Draw wiring diagrams.

Program Programmable Logic Controllers (PLC) and Industrial Robots

Develop Graphical User Interfaces

Work with industrial communication networks

Wire and instrument basic industrial sensors and actuators.

Develop skills to adapt industrial control components to their automation design.

Develop problem solving and planning skills and work effectively as part of a team

Course Rules

For proctored exams, your webcam and microphone should be on during the exam. In the case of non-compliance with this and other declared exam procedures, your exam will be void. Make sure to check that your webcam and microphone function properly before the exam. Oral exams may be delivered for double check of written exam performances. You must attend the synchronous Zoom lectures, recitations, etc. and real-time online exams with your SU email account.

|  | Percent | Number of |
| --- | --- | --- |
| Final | 30 % |  |
| Midterm | 20 % | 1 |
| Lab Assignment | 30 % | 6 |
| Homework | 20 % | 5 |