# Syllabus for MAT 571 Introduction to Electron Microscopy

Ver. 2022spring

# Instr,:  Mehmet Ali Gulgun

TAs:

1-2 weeks		Specimen electron beam interactions, an overview

6-8 weeks		(Scanning) Electron Microscope

3-5 weeks		Transmission Electron Microscopy

Recommended Books for the course

1	“Scanning Electron Microscopy and X-Ray Microanalysis” by J. I. Goldstein, D. E. Newbury, P. Echlin, D. E. Joy, C. Fiori, and E. Lifshin, Plenum press

- “Transmission Electron Microscopy” by D. B. Williams and C. B. Carter. Plenum press

- QED The strange Theory of Light and Matter, Richard P  Feynman, Penguin Books,

Other Books you may find useful:

- “Diffraction Physics,” by J. Cowley, North Holland PL, 1990

- “High Resolution Transmission Electron Microsopy and Asssociated Techniques”, P. Buseck, J. Cowley, and L. Eyring, Oxford, 1992

- “Elektronenmikroskopie” Flegler, Heckman, Klomparens. Spektrum, 1993.

Topics to be covered: (approximately)

## A Brief History of Microscopy:

## OLM vs EM

## Electron Beam Specimen Interactions

Elastic versus inelastic interactions

## Scanning Electron Microscope

### Electron Optics

Electron sources

Lenses

Electron detectors

Image formation in SEM

Magnification

Depth of Field/Depth of Focus

Contrast

## Chemical Analysis in SEM

X-ray Spectroscopy

Energy Dispersive X-ray Spectroscopy

Qualitative EDS analysis

Quantitative EDS analysis

ZAF correction

Thin film approximation

Wavelength Dispersive X-Ray Spectroscopy

## Transmission Electron microscopy

Column optics

Image formation

Electron diffraction

#### Specimen preparation for SEM and TEM analysis

For inorganic materials

For biological samples

Rules of attendance for MAT 571 Introduction to Electron Microscopy

1. Attendance to lectures and to labs at the pre-agreed times is a MUST. Not attending lab-sessions twice is an automatic failing grade of F
2. Students who cannot attend a class or labs are to either
    a) contact the instructors with their excuse for letting them know that they cannot make it to class or lab hours BEFORE lab or class
    b) or bring a valid MD's excuse for their medical inability after the class.
3. Missed classes or lab hours are not repeated.
4. Failing to attend lab hours without showing the courtesy of letting the instructors know ahead of time two times will result in an F-grade for the course.

Midterm #1	40 %

Midterm #2	40 %

Lab reports  20 % (with 5% each successful report)

No Cell phone in lecture rooms.

Labs for Microscopy:

Lab week #2 Introduction of the microscope @SEM

The column, detectors and their functions (show the faraday cage in front of the ET SE detector and introduce BSE detector to show its location), mention the coincidence point of EDS and BSE. vacuum system, the computers for imaging and EDS)

Lab week #3 Specimen Preparation and introduction of the sample

into the scope. (prepare one solid sample and one powder sample with and without coating, turning on the microscope and finishing the session)

Lab #4 Imaging in SEM. (SE detectors, their difference, use the

metallic sample to show the effect of EHT on SE vs BSE contributions, and on fiber samples, surface vs penetration effects.) Lab report#1

Lab #5 Imaging (effect of working distance on resolution, depth of focus,

and ranges of accelerating voltages) Lab Report # 2

Lab #6 Imaging with SE and BSE detector (Cement sample, effect of

EHT and aperture on BSE efficiency, and SE and BSE resolution) Lab report#3

Lab #7 Analytical Electron Microscopy EDS coupled with BSE (Cement

sample,  point analysis, mapping, quantitative EDS correlation to BSE contrast) Lab Report #4

Lab #8 TEM (hopefully) the microscope and its operation in imaging,

ALUMINA CERAMIC SAMPLE Poly-X

Lab #9 TEM (hopefully) diffraction (

ALUMINA CERAMIC SAMPLE Poly-X Lab report #5 extra points)